## Slide 1
ONCOLOGY 2
Nuclear Medicine Scans: Analysis of uptake mechanism and imaging protocols

## Slide 2
Imaging Therapy
"positive uptake“
non-specific
specific
functional imaging
Specific only
ONCOLOGY
Y emitting RF (SPECT)
Β+ emitting RF (PET)
Β+ emitting RF
α emitting RF

## Slide 3: What are the nuclear medicine imaging methods?

## Slide 4
IMAGING clinical practice & research

## Slide 5: Positron Emission Tomography
PET+CT=PET-CT
the fusion of functional and anatomic information acquired almost simultaneously from which we are able to visualize form and function. an with the CT, which gives us the PET CT

## Slide 7: Radiopharmaceuticals - Positron Emitting Isotopes
+ Decay
Neutron-deficient isotopes can decay by emitting positrons
Positron travels ~1mm
  Decelerates
Annihilates with e-
Gamma photons
Scanner is just a photon counter!
  Counts gamma-ray pairs vs. single gammas
Positron Emission Tomography (PET)

## Slide 8: Positron Emitting Isotopes
Organic 4

## Slide 9
Glucose metabolism
F-18-fluorodeoxyglucose (FDG)
•
•
Amino acid metabolism
C-11-methionine, F-18-tyrosine
Nucleic acids metabolism
F-18-thymidine
Blood flow
N-13-ammonia, O-18-water
Receptor uptake
F-18-estradiol, somatostatine
Radiopharmaceuticals - Positron Emitting Isotopes
Uptake mechanism

## Slide 10
Radiopharmaceuticals | Uptake mechanism
18F FDG | Glucose uptake
11C acetate | oxidative metabolism
68Ga-SSA | Somatostatine receptor
11C tirozin | Cell proliferation
11C FET (fluoro etiltirozin) | Cell proliferation
11C metionine | Cell proliferation
11C/18F choline | Acetylcholinesterase activity
18F FLT (fluoro 3-deoxi timidine) | Cell proliferation
18F FMISO (fluoro misonidasol) | Cell hypoxia
18F Na fluoride | Cell osteoblastic activities
Radiopharmaceuticals - Positron Emitting Isotopes
most commonly used
Notes: [11C]-metomidate
Specifically acts as an antagonist to beta-hydroxylase, a key enzyme in adrenocortical steroid synthesis. Clinically used to visualize tumors of adrenocortical origin.
[11C]-5-hydroxytryptophan
Hydroxytryptophan is the key substrate for the enzyme Dopa decarboxylase in serotonin production. Metabolic accumulation of this tracer is highly upregulated in most tumors of neuroendocrine origin, spe-cifically the carcinoids. [11C]-5-hydroxytryptophan uptake in two very small bone metastases in a patient with a known carcinoid tumor. 5-Hydroxytryptophan is the precursor of ser-otonin. The converting enzyme 5-hydroxytryptophan decarboxylase is highly expressed in the majority of tumors with neuroendocrine origin
[18F]-DOPA
Radiolabeled DOPA accumulates in dopaminergic presynaptic neurons and in tumors of neuroendocrine origin. Used to study and diagnose Parkinsonian syndromes and for visualization of neuroendocrine tu-mors.
[11C]-meta-hydroxyephedrine
A non-metabolized analog of norepinephrine. Accumulates in presynaptic vesicles of norepinephric synapses. The signal is proportional to regional sympathetic activity. Used clinically in studies of cardiac in-nervation and for detecting tumors originating from sympathetic tissues (pheochromocytomas, paragan-gliomas).
[18F]-RGD-binding peptides
A number of peptides that bind to the RGD motif of the αvβ3 integrin have been labeled with [18F]. The integrin is co-expressed with the VEGF receptor during neoangiogenesis, the formation of new blood ves-sels.
[11C]-flumazenil
Flumazenil is a registered drug that acts as a partial agonist to benzodiazepines on the GABA-A receptor in the central nervous system. Clinically the drug is used as an antidote in sedative intoxication. As a tracer it is used to identify and locate brain abnormalities prior to surgery in patients with treatment-refractory epilepsy.
[11C]-PIB
Pittsburgh compound B (“PIB”) binds to amyloid, a waste protein accumulating in the brains of patients with Alzheimer's disease. Currently used to enrich trials of anti-amyloid treatments by helping identify patients with substantial brain amyloid. A few reports indicate an opportunity to document changes in brain amyloid load quantitatively. There are several [18F]-labeled amyloid tracers in clinical trials.

## Slide 12
FDG: Fluoro-2-deoxy-D-Glucose
Uptake Mechanism
FDG is a glucose analogue (similar to it) used to assess glucose
metabolism.
● The only difference between them is kidney excretion.
● FDG transported from intravascular space to the cells by the same
mechanism as the glucose.
● In the cell, a substance called “hexoKinase” acts on both FDG and
glucose to form:
- FDG-6-phosphatase (FDG-6-PO4-).
- Glucose-6-phosphatase.
● FDG-6-PO4- can’t progress further into glucose metabolism and
remains trapped intracellularly in proportion to glycolytic rate of
the cell.
*In tumors, there is high rate of glycolysis (High compounds
concentration) compared to normal cells and higher level of hexoKinase.

## Slide 13
Fluorodeoxyglucose (FDG) is phosphorylated to FDG-6-PO4 by hexokinase. Since the activity of glucose-6-phosphatase is negligible, FDG-6-phosphate is essentially trapped in tumor cells.
Fluorothymidine (FLT) is phosphorylated by thymidine kinase to FLT-6-PO4 and accumulates in tumor cells.
It is described as a marker of cell proliferation.
Czernin J and Phelps ME.. Annu Rev Med, 2002; 53: 89-112.
RADIOPHARMACEUTICALS
- Cellular functional Specificity -

## Slide 14: FDG: Normal distribution
● Brain: High uptake (brain’s main energy source is glucose).
● Heart: Should NOT be seen in the fasting image.
● Liver: less uptake.
● Kidneys: unlike glucose, FDG is excreted in urine.
● GI: Mild clearance, faintly seen.
● Muscles: Low, increase with exercise.

## Slide 15
Quantification in PET
Standardized Uptake Values (SUV)
Quantification provides the link between the concentrations of radioactivity measured in tissue and the underlying physiologic processes occurring in the organ. It relates the rate at which radioactivity levels in the body change over time to quantitative parameters such as absolute rate glucose metabolism, regional blood flow, or concentrations of receptors or other binding sites

## Slide 16
PET:100 %
CT: 0 %
Stomach cancer

## Slide 17
PET: 80 %
CT: 20 %
Stomach cancer

## Slide 18
PET: 60 %
CT: 40 %
Stomach cancer

## Slide 19
PET: 40 %
CT: 60 %
Stomach cancer

## Slide 20
PET: 20 %
CT: 80 %
Stomach cancer

## Slide 21
PET: 0 %
CT: 100 %
Stomach cancer

## Slide 23: 18F-FDG PET/CT in Oncology

## Slide 24
Identification and localisation of disease foci
  unknown primary (paraneoplastic syndromes)
Diagnosis and “grading” of malignant disease
    staging and restaging TNM
Evaluation and monitoring of response to therapy
Identification of recurrent disease in comparison with “raising” tumour markers and anatomic/structural changes (CT and MR)
RadioTherapy guidance and “management”
Guide for biopsy
FDG PET in ONCOLOGY
UTILITY in CLINICS

## Slide 25
Melanoma
High degree NHL HL
Colon-rectal Lung
Esophageal Head & Neck
Infiltrating ductal breast Indifferentiated thyroid
High deg.Sarcoma Testicular
Pancreatic
Ovarian relapse
Low grade LNH
Broncho-alveol. Lung
Uter. Cervix Kidney
Lobular Breast Mucinoid Prostatic
Primary ovarian Differentiated thyroid Neuroendocrinal tumors
SUV
15
10
5
High uptake
Intermediate uptake
Low uptake
FDG tumor uptake

## Slide 26: Identification and localisation of disease foci 18F-FDG-PET can reveal the primary location of the tumor in 1/3 of patients with cancer of unknown location
Gutzeit A et al Radiology. 2005 Jan;234(1):227-34.

## Slide 27: Nasophargeal cancer with LN metastasis

## Slide 28
NSCLC
CT: T2 N1 M1 ~ stg. IVa ?
“Staging” TNM

## Slide 29
NSCLC
CT: T2 N1 M1 ~ stg. IVa ?
PET/CT: T2 N2 M0 ~ stg. IIIa

## Slide 30
Evaluation and monitoring of response to therapy
2 to 3 weeks after chemotherapy
6 to 12 weeks after radiotherapy (due to the stunning effect on malignant cells: transiently reduced metabolism and proliferation, false negative finding, or radiation pneumonitis, false positive finding)
2-6 months after surgery

## Slide 31
After
(’01.12.14.)
Before
(’01.7.25.)
Relapse
(’02.4.16.)
Chemotherapy

## Slide 32
RadioTherapy guidance and management
More precise planning of the beam field depending on the metabolic and biological activity in the malignant tumor itself
Fusion functional-morphological imaging using PET/CT significantly improves the accuracy of planning the air field:
In NSCLC, the removal of atelectasis and infection zones from the air field, and the shift and increase of the dose to the area of lymph nodes that accumulate FDG.

## Slide 33
Steenbakkers R. Int J Radiat Oncol Biol Phys. 2006;64:435.

## Slide 34
NSCLC. atelectasis

## Slide 37
18F-FDG 11C-metionine
MRI
Astrocitoma
18F-FDG negative uptake
11С-метионин positivie uptake
Brain tumors

## Slide 38
PET / 18FDG 11C-methionine
accumulation of FDG in the tumor (left, arrows) does not differ from physiological methionine (right) accumulates in the tumor much more intensively than in the surrounding brain tissue (anaplastic oligodendroglioma).
coronal
sagital

## Slide 39
Brain metastases (non small cell lung carcinoma)
11C-methionine

## Slide 40
Glioblastoma multiforme
MRI
18F-FDG
11C-methionine

## Slide 41: 11C-methionine
Тумор високог степена малигнитета са зоном некрозе у којој изостаје накупљање РФ
MRI
праћење ефекта радиотерапије

## Slide 42: Bone metastases 18F-Na Fluoride
2F- + Ca 10 (PO4) 6 (OH) 2 → Ca 10 (PO4)6 F2 + 2OH-
Copyright © Society of Nuclear Medicine and Molecular Imaging
99mTc-MDP
18F-floride PET

## Slide 43: Bone metastases 18F-Na Fluoride

## Slide 44
Somatostatin receptor PET tracers: Ga-68
Somatostatin has 5 receptors. Ga-68 is more sensitive.
Higher lesion detection rate than what is achieved SSTR PET, than somatostatin receptor SPECT, CT, or MR imaging.
Sensitivity: 70-100% (depends on density of somatostatin receptors in the tumor).
Indications: Tumours with high expression of receptors of somatostatin.
1. Gastroenteropancreatic tumours (e.g. carcinoids, gastrinoma, insulinoma, glucagonoma, VIPoma,
2. Sympathoadrenal system tumours
(pheochromocytoma, paraganglioma,
neuroblastoma,ganglioneuroma).
3. Medullary thyroid carcinoma.
4. Pituitary adenoma.
5. Medulloblastoma.
6. Merkel cell carcinoma.
7. Small-cell lung cancer

## Slide 45
NET with extensive
metastatic lesions
throughout the body
NET with multiple metastatic
disease confined to the liver
and abdominal cavity
Carcinoid tumor: Positive 68Ga-DOTA-NOC and Negative 111In-Octreoscan.
Ga DOTA-NOC Findings: Multiple metastatic lesions in the liver.

## Slide 46
Evaluation and monitoring of response to therapy
RECIST (Response Evaluation Criteria in Solid Tumours) v.1.1 - MDCT
SLD-sum of lenght diameter
complete response (CR)
partial response (PR)
stable disease (SD)
progressive disease (PD)

## Slide 47
Evaluation and monitoring of response to therapy

## Slide 48
NHL (large B cell type).
А) Left axila 16 х 16 х 15 cм , SUV-19
F) Post-therapy– negative uptake 10 х 9,5 х 9,3 cм
PR-RECIST
CR-PERCIST

## Slide 49
HCC post -therapy
RECIST-SD
PERCIST-PR
Pancreatic cancer post-therapy
RECIST-PR
PERCIST-PD

## Slide 50: CONCLUSION
Integrated PET/CT provides:
  More precise staging than all the other imaging techniques
  Allows better selection of patients for new modalities of treatment
  Helps in re-staging after induction therapy
  It is cost-effective
  Precise delineation – EBRT Planning
  Helps in follow up evaluation by differentiating Residual or recurrent tumor from Post-treatment scarring
But….

## Slide 51
18F-FDG-PET/CT
False positive results (High metabolic activity in):
  Inflammation, infection
  Granulomatous diseases (Sarcoidosis…)
  Benign tumors
  Brown fat… Artifacts….
CONCLUSION

## Slide 52
False negative results:
  Small lesions < 8-10mm (limited spatial resolution of PET)
  Necrotic tissue
  Bronchoalveolar carcinoma, carcinoid….
  Hyperglycemia, hyperinsulinemia, corticosteriod therapy
Instead of CONCLUSION
18F-FDG-PET/CT